THERMAL UTILISATION OF SOLAR ENERGY

Croatian National Energy Program SUNEN, 1998 - 2010

Bernard Franković, Branimir Hrastnik*, Claudia Jedriško

Faculty of Engineering University of Rijeka, Vukovarska 58, 51000 Rijeka, Croatia

* Energy Institute “Hrvoje Požar”, Ulica grada Vukovara 37, 10000 Zagreb, Croatia

ABSTRACT

In the paper, thermal use of solar energy as well as prospects and problems of its utilisation in Croatia have been given. The National Solar Energy Program, SUNEN, has been established to stimulate the usage of solar energy. The main goals of the program are the assessment of technical and economically viable solar potential in order to define real objectives and tasks to provide use of exploitable indigenous clean and renewable energy potential. The Program addresses benefits, the most promising solar applications and solar potential. Much attention has been given to identification of obstacles and barriers in the process of solar technology dissemination. SUNEN is an initiative to increase solar energy use and to become more compatible with the present renewable energy sources policy in EU and Mediterranean countries. The program proposes twelve different types of thermal solar energy systems, which could be multiplied up to 28 000 installations until the year 2010 with annual heat recovery of approximately 1,5 TWh (5,4 PJ).

KEYWORDS

Solar energy; thermal conversion; active solar systems; passive solar systems; National Energy Program.

INTRODUCTION

The beginning of research and development of solar energy technology in Croatia dates back to the mid- Seventies, when the first flat plate collector installation for commercial use was installed. In the meantime approximately 150 000 m2 of collectors have been installed, the majority of them on the roofs of private houses and hotels along the Adriatic coast and islands. Although the actual annual capacity of Croatian factories is 20 000 m2 of collectors, the production nowadays comprises approximately 5000 m2. To stimulate the usage of solar energy, the Ministry of Economic Affairs has established an energy project on the national level - Development and Organisation of the Energy Sector of Croatia (PROHES). The main goal of the Project is restructuring of the present economy and energy sector, which in the future will be compatible with modern development plans of local and regional communities. This Project is divided into ten programs. One of them is the National Solar Energy Program - SUNEN. The aim of this program is to assess technical and economically viable solar potential, to define realistic objectives as well as to formulate tasks, which shall provide future use of solar energy. A great part of the Program is concerned with the development of active thermal solar system installations until the year 2010, with a total area of 1 500 000 m2 of flat plate collectors, as well as use of passive and hybrid systems.

Much attention will be paid to identification of obstacles and barriers in solar technology dissemination. Legal, technical, economical and institutional barriers as well as other reasons have recently provoked quite an adverse environment for dissemination of renewable energy sources.

### TECHNICAL AND ECONOMIC SOLAR POTENTIAL

Assessment of technical solar potential is based on theoretical potential which, with an average annual solar irradiation on the horizontal surface of 1,4 MWh/m2 on an area of 56 610 km2, amounts to 79254 TWh per year. Estimating at least 3% (1 700 km2) area being available for solar installations with average annual efficiencies of such systems (2% for thermal conversion, efficiency for collectors 40%, and 1% for PV installations with efficiency of 10%), technical solar potential would be 792 TWh (2850 PJ). If only 1% of previously estimated technical potential would be available, economic potential would be 28,5 PJ; the amount which is sufficient to cover all national energy needs. Economic solar potential in the year 2010 will be 15 PJ, and in the year 2020 will be 40 PJ. The economic solar potential will strongly depend on the availability of conventional energy sources and their prices. The estimation comes from a conservative assessment of the solar potential for suitable applications using active solar thermal, photovoltaic and passive solar energy transformation systems. So, a more likely scenario for all three solar potentials has been presented in Table 1.

Table 1.  Economic solar potentials

| Years  | 2000 | 2010 | 2020 |
| --- | --- | --- | --- |
| Solar total (PJ) | 1,5 | 15 | 40 |
| Low temperature active | 1,0 | 9 | 20 |
| Low temperature passive | 0,5 | 5 | 15 |
| Photovoltaics | 0,01 | 1 | 5 |

## THE MOST PROMISING SOLAR APPLICATIONS

According to the Program, the most suitable solar locations with very high annual irradiation are the Adriatic coast and islands. The program aims to investigate and provide optimal solutions for solar energy utilisation in this region. In Table 2, the possible number of solar installations which is planned to be built during the period of the Program until 2010 is shown and these are the following systems for: hot water heating, space heating, cooling and air-conditioning in buildings, swimming pool water heating and solar thermal power plant for district heating. An assessment of investment costs for these systems amounts to 480 million DM.

PROGRAM BENEFITS

Energy benefits: Use of clean and indigenous energy sources rather than imports, higher efficiency in energy transformation, transport and distribution, coverage of local energy supply by autonomous energy generation with lower pollution levels. Economy benefits: The Program supports new clean technologies, reduces construction time and investments payback time to one-fifth using mostly domestic resources, provides numerous opportunities for many small and medium size companies, provides much more investment opportunities, which will attract more capital funds from international resources and improve local infrastructure as well as speed up technology transfer. Social and employment benefits, improving the standard of living: Energy generation based on renewable energy sources together with programs of sustainable development of regional community contributes to better social cohesion and creates many well paid jobs for skilled employees. In the long run, it will slowdown and finally halt migration from isolated rural and island communities. Environmental benefits: Solar energy avoids all kinds of adverse emissions like CO2, SO2 and NOx.

Table 2. Proposed low temperature active solar energy systems for the period until 2010

| Project | Output power kW | Investment for single installation 1000 DEM | Energy saving GWh/a | Possible multiplication | Program value Mil. DEM | Total energy saving GWh/a | Energy payback ann. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| WH*; small system | 100 | 60 | 0,250 | 420 | 23 | 105 | 8 |
| Open SP* – family house | 13 | 4 | 0,040 | 20 000 | 80 | 800 | 6 |
| Indoor SP - family house | 15 | 10 | 0,035 | 5000 | 50 | 185 | 5,5 |
| Open SP – hotel | 150 | 120 | 0,350 | 50 | 6 | 17,5 | 5 |
| Indoor SP - hotel | 100 | 70 | 0,250 | 50 | 3,5 | 12,5 | 5 |
| WH; medium sized system | 1000 | 200 | 2,500 | 25 | 5 | 62,5 | 8 |
| WH; compound large sized system | 3000 | 800 | 8,000 | 10 | 8 | 80,0 | 8 |
| Total energy system - hotel |  | 2500 | - | 50 | 125 | - | 5 - 6 |
| Heat pump + SC - family house | 20 | 65 | 0,050 | 1000 | 60 | 50,0 | 4 - 5 |
| WH for an autocamp – heat pump + electric heater | 85 | 100 | - | 1000 | 10 | - | 3 |
| HVAC and WH – medium sized system; heat pump and sea water | - | 500 | - | 100 | 50 | - | 4 - 5 |
| District solar thermal energy plant | 4200 | 4000 | 12,500 | 15 | 60 | 187,5 | 4-5 |
| Total |  |  |  | 27720 | 480,5 | 1500,0 |  |

*WH - water heating; SP - swimming pool; SC - solar collectors; HVAC - heating, ventilation and air-conditioning

Trade and competitiveness: Cooperation with donors of renewable technologies will involve Croatia in European markets. Development of national technical standards and legislation: National technical standards and legislation, which are a result of the energy policy characterised by ecological disasters with serious repercussions in many local communities must be updated according to recent European standards. Improving international competitiveness of tourism and agriculture: Safe and clean energy supply together with autonomous energy generation will cut energy costs and with lower pollution levels will improve tourism and ecological agriculture. Improving health and welfare of local societies: A strategy of substituting conventional energy sources with renewable energy sources and parallely using natural gas directly contributes to improvement of the environment as well as the health and welfare of the population.

OBSTACLES AND BARRIERS

Program implementation will generally be slowed-down by typical obstacles and barriers, which impose quite significant restrictions to any action plan and must be taken into account in every real planning process. The administrative obstacles can be disregarded if legal, regulatory and legislative backgrounds have been regulated. Lack of funds for financing program studies can be recognised as obstacle. Lack of professional organisations with specialised services, lack of suppliers of special equipment and lack of support of governmental organisations and institutions are seen as barriers. Non-existence of financial support for program and lack of taxation policy cause financial obstacles. Inadequate professional knowledge, lack of professional human resources, lack of technical and measuring equipment, as well as lack of technical procedures, standards, guidelines represent technical obstacles.

The Croatian Government has not made a clear commitment concerning renewable energy sources. The national energy strategy is still in debate. There is not any single governmental instrument or institution that financially supports renewable energy technology and there is a lack of real price policy including external energy costs. State electrical power and oil producing companies have not yet given a clear statement in favour of the energy strategy concerning renewable energy sources, which results in a lack of clear commitment to the energy free market or public acceptance of clean energy sources. All projects realised hereto based on renewable energy technology are on a small economy scale. The non-existence of a lifelong warranty from Croatian suppliers of renewable energy technology, a manufacturing that is not based on the economic scales, as well as an undeveloped market for renewables can all be perceived as economic obstacles.

TASKS, ACTIONS AND RECOMMENDATIONS

The intention of the Program is to: set priorities and clear targets for renewables; provide administrative, financial, legal and organisational instruments at national level; prepare decisions of national energy strategy based on assessment of energy potential of individual sources and expectations of their respective future availability; recommend governmental instruments and incentives; identify economically viable applications and set criteria to determine their priorities; maximise in a sustainable way the exploitation of domestic sources, both fossil and renewables, with an emphasis on the efficient transformation, transportation and distribution of energy; minimise energy impact on the environment during energy transformation and final use of energy; maintain transparent information regarding advantages and potential of renewable energy sources; increase institutional, scientific and industrial international cooperation and exchange.

CONCLUSION

The values of solar potential are assessed rather conservatively taking into account all barriers which presently hinder more effective program implementation. In the late Seventies, Croatia was among the very few countries in the world, which initiated a solar energy program, responding to the oil crisis in 1973. In the late Eighties interest in solar energy started to decline. Nowadays, most countries in the world are very much ahead of Croatia and the present situation cannot improve until clear decisions concerning energy strategy are made and until a strong political driving force, based on the national consensus and commitment in favour of sustainable technologies, is activated. The program proposes twelve different types of thermal solar energy systems, which could be multiplied up to 27 720 installations until the year 2010 with an annual heat recovery of approximately 1,5 TWh. An assessment of investment costs for those systems amounts to 480 million DM.

Program SUNEN is a way forward to a more widespread use and increased contribution of solar energy. Hereafter, Croatia's energy policy will in the near future become more compatible with the present renewable energy sources policy in EU countries. In order to achieve such an ambitious objective, close cooperation with EU countries and their assistance during program implementation will be most effective.

REFERENCES

Bejan, A., Tsatsaronis, G., Moran, M. (1996). Thermal design and optimization. John Wiley & Sons Inc., New York.

Duffie, J.A., Beckmann, W.A. (1991). Solar engineering of thermal processes. John Wiley & Sons Inc., New York.

Franković, B., Živković, B., Jedriško C. (1996), Energy optimisation of the modular greenhouse for the North Adriatic climatic conditions. In: Proceedings of Eurosun’96 (J. Berner, Ed.), Vol.1, pp.176-181. DGS-Sonnenenergie Verlags-GmbH, Freiburg, Germany.

Franković, B. (1997). An analysis of the sensible heat regenerative exchanger in a solar thermal energy storage system. In: Proceedings of ISES 1997 Solar World Congress, Vol.6, pp. 209-217. Korea Institute of Energy Research, Taejon, Korea.

Hrastnik, B. et al. (1998). SUNEN – Solar Energy Utilisation Programme. Ed. Energy Institute “Hrvoje Požar”, Zagreb, Croatia.

Viličić, I. (1992). An analysis study of the effect of climatic-meteorological factors on the heating and air conditioning of buildings on the Croatian coast - dissertation, Faculty of Engineering University of Rijeka, Croatia. (in Croatian).