IMPACT PATHWAY METHODOLOGY IN ESTIMATING EXTERNAL COSTS OF ELECTRICITY GENERATION

(CASE STUDY CROATIA)

Tea Kovacevic, Zeljko Tomsic, Maja Bozicevic

Faculty of electrical engineering and computing, Zagreb, Croatia

Abstract

To allow for a fair comparison of various electricity generating options, it is necessary to account for environmental and societal impacts caused by electricity generation. Because of their diverse character, impacts are expressed in a common measure, so called external costs. External costs can be calculated using the so called impact pathway methodology, which relates to the sequence of events linking a “burden” to an “impact”, and subsequent valuation.

This paper estimates, by means of the impact pathway methodology, external costs of the representative coal and gas fired power plants, determined as candidates for Croatian power system expansion till 2030. It is analyzed how the estimated external costs, when incorporated into total production costs of the facility, would affect the competitivness of fossil-fired plants compared to other electricity generation options, i.e. how they would influence the optimal expansion strategy of the Croatian power system.

# Introduction

External costs of electricity refer to the costs of damage imposed on society and the environment by the electricity generation chain, but not accounted for in the market price of electricity. Impacts include damage to the natural and built environment, such as effects of air pollution on health, buildings, crops, forests and global warming; occupational disease and accidents; and reduced amenity from visual intrusion of plant or emissions of noise. Only impacts of air pollution on human health, recognized as priority impacts of electricity generation, are dealt with in this paper.

# Method Description

Impact assessment and valuation are performed using the 'damage function' or 'impact pathway' approach, which relates to a sequence of links between the burden and its impact. This approach assesses impacts in a logical and transparent manner, going stepwise as shown in Figure 1.

| 1. Emission quantification | 2. Atmospheric transport and dispersion | 3. Environmental impact estimation (dose-response) | 4. Damage valuation (external costs) |
| --- | --- | --- | --- |

Figure 1 Impact pathway methodology, (1(

The impact pathway methodology consists of the following steps: (i) quantification of emissions, (ii) calculation of the associated ambient concentration increase by means of atmospheric dispersion and transport models, (iii) estimation of physical impacts using various exposure-response functions, and (iv) monetary evaluation of damages. Impact pathway method requires a detailed description of the reference environment, which in this case includes meteorological conditions affecting dispersion and chemistry of atmospheric pollutants, functions linking exposure to a pollutant with the health effect it causes, population density and age structure in the observed area, and costs of the estimated health effects. Each of these steps inevitably incorporates a dose of uncertainty, however there is a consensus among experts that transference of input parameters and results is to be preferred to ignoring some impact categories.

Software used for calculation of externalities associated with electricity generation is EcoSense (2(, developed within the European Community project ExternE (1(. It constitutes of several databases: technology, exposure-response functions and reference environment database. The reference technology database holds a small set of technical data describing the emission source, mainly related to air quality modeling. The impact assessment module calculates physical impacts and the resulting damage costs by applying the exposure-response functions, based on receptor distribution and concentration levels of air pollutants from the reference environment database. EcoSense also provides two air transport models. One is a Gaussian plume model for dispersion of primary air pollutants (SO2, NOx and particulates) within 50 km of the source. The other is a trajectory model to estimate the concentration and deposition of secondary pollutants (sulfate and nitrate aerosols, sulfuric and nitric acid, tropospheric ozone), formed subsequently in chemical reactions on a larger spatial scale.

# Public Health Effects

Incremental air pollution attributable to power generation is a mixture of primary and secondary pollutants. Quantitative relationships have been established that link air pollution with a number of health endpoints, such as premature mortality, hospital admissions due to respiratory and cardiovascular problems, emergency room visits due to exacerbation of asthma and chronic obstructive pulmonary disease (COPD), and restricted activity days. For example, unit increase of particulate matter concentration in the ambient atmosphere raises the number of acute mortality cases by 0,04% (Table 1).

Table 1 Exposure-response functions and monetary values for the observed health endpoints

| Impact Category | Monetary value (ECU) (1) | e-r factors for PM10 and nitrates (2) |
| --- | --- | --- |
| Receptor: Total population |  |  |
| Acute mortality | 155.000 | 0,040% |
| Chronic mortality | 83.000 | 0,390% |
| Hospital admissions | 7.870 | 7,11(10-6 |
| Emergency room visits | 223 | 13,7(10-6 |
| Receptor: Adults |  |  |
| Restricted activity days | 75 | 0,025 |

Remarks to the above table:

(1)	mortality values given at a discount rate of 3%, based on years of life lost approach.

(2)	exposure-response factor is expressed as percentage change in annual mortality rate per unit of pollutant concentration increase (% change per (g/m3) for mortality, while in number of events per person per (g/m3 for morbidity, e-r factor for sulfates is 67% higher than for nitrates.

Mortality impacts can be valued based on the willingness to pay (WTP) for reduction of the risk of death, or on the willingness to accept compensation (WTA) for an increase in risk. WTP or WTA is converted into the value of statistical life dividing it by the change in risk. Morbidity impacts are valued based on the cost of illness, that comprises the value of wages lost during the time of illness, the value of the utility lost because of pain and suffering and the costs of any expenditures on averting and mitigating consequences of illness.

# Calculation of Damage Costs for Croatian Power Plants

The aim here is to apply the impact pathway method to estimate costs of air-pollution induced health damages caused by electricity generation in Croatia. Two types of fossil-fired power plants are observed (candidates for power system expansion): one coal and one natural gas fired facility, both with installed capacity of 380 MW. Thermal efficiency of coal unit is supposed to be 37%, while of gas unit 43%. Both facilities are assumed to comply with domestic emission standards, so the emission rates equal the upper emission limits (see footnotes in Table 2). Incremental air pollution due to operation of those two units is calculated by a long-range trajectory model. Only impacts on receptors within Croatia are observed.

The results are the following. Damage costs vary with the power plant location, mostly because the number of affected receptors in Croatia is different for each location. Thus, damage costs for the coal unit vary from 0,67 to 3,6 mECU/kWh, while for the gas unit from 0,19 to 0,61 mECU/kWh. Damage costs can also be expressed per ton of pollutant (Table 2). It has to be stressed that the obtained external costs comprise only health impacts due to airborne emissions (particulates, SO2, NOx). Impacts of ground-level ozone caused by NOx and of global warming are not included in the calculation due to so far lack of reliable ozone models i.e. large uncertanties in impacts of global warming.

Table 2 Country-scale external costs caused by referent coal and gas fired power plants*

| (1 ECU=1,25 USD) | mECU/kWh |  | ECU/t |
| --- | --- | --- | --- |
|  | min | max |  | min | max |
| Coal power plant (1) | 0,67 | 3,6 | PM10 | 350 | 2.330 |
|  |  |  | SO2 | 140 | 765 |
|  |  |  | NOx | 190 | 1.000 |
| Gas power plant (2) | 0,19 | 0,61 | NOx | 200 | 1.025 |

* Damage costs of NOx via ozone and of global warming are not included.

(1) TSP (total suspended particulates) = 50 mg/m3; SO2 = 400 mg/m3; NOx = 650 mg/m3.

(2) NOx = 100 mg/m3.

Using the same approach and long-range dispersion modelling, damage costs attributable to the existing power plants in Croatia were calculated. They are in the range of 0,65 to 21,5 mECU/kWh, i.e. somewhat higher than of the candidate units due to older technologies and dirtier fuels used.

The obtained damage i.e. external costs can serve as a basis for various analyses, such as cost-benefit analysis of pollution abatement measures, determining the height of emission charges and taxes, selection of optimal power plant location, or comparison of energy technologies by their environmental performance. More sophisticated analyses can be conducted as well, such as least expensive dispatching of units in the power system if external costs are added to power plant operation costs. External costs can be also included in power system expansion planning, i.e. finding the optimal mix of new capacities that should be added over a certain planning period. The latter application will be here demonstrated in brief.

# The role of external costs in power system expansion planning

Two scenarios of Croatian power system expansion are observed: one with unlimited and the other one with maximally limited availability of natural gas, those two spanning the range of expansion options. The question is how to meet the forecasted electricity demand at lowest possible cost, i.e. what kind of new units and in what dynamics should be built in the next 30 years, so that total costs over the period are lowest possible. Expansion candidates are gas, coal, nuclear and hydro facilities, gas being by far the cheapest.

Three cases are observed: (i) reference case – no external costs added, (ii) case “ext. CAND” – external costs added only on candidate units, (iii) case “ext. CAND+EXIST” – external costs added on both candidate and existing units. Optimal capacity mixes in those three cases, for two extreme scenarios of gas availabilty are shown in Figure 2.

Figure 2 Optimal capacity mixes for two levels of external cost internalization, depending on natural gas availability

Since gas fired power plants are the cheapest, they are the first to enter the optimal capacity mix, so if gas availability is unconstrained the optimal expansion plan will consist of gas fired units only (Figure 2, fist bar on the left). If gas is constrained, large part of total capacity needs would have to be met by coal and nuclear units (fourth bar from the left). What happens if external costs are added? It can be seen that external costs would not affect the optimal capacity mix if the gas supply is unlimited (second and third bar from the left), because gas units still remain the cheapest. However, if natural gas is limited, results change significantly. Where external costs are added to candidate units only, optimal capacity mix includes altogether two nuclear units over the observed period (fifth bar from the left), while if external costs are added on both existing and candidate units, three nuclear units would enter the optimal solution (last bar on the right-hand side). Emissions to the atmosphere differ significantly in the observed cases. The comparison of the associated CO2 emissions is given in Figure 3.

| CO2 emissions |  |
| --- | --- |

Figure 3 CO2 emissions depending on the level of internalization of external costs

Comparing the two observed levels of external cost inclusion, namely the “candidates only” variant, depicted by the thick black line, and “candidates + existing units”, depicted by the thick grey line in Figure 3, it can be noticed that emissions in the latter variant are lower throughout the period, regardless the natural gas availability. That means that the existing power plants, that are generally more polluting than the new ones, are dispatched less frequently since they are also affected by external costs. If however the external costs are added only to candidate units, emissions in the first half of the period are even higher than in the reference case, since the existing power plants (now uncharged) gain priority in the economic loading order. The analysis also showed that external costs should be introduced with care, because they can not only affect the choice of new power plants to be built in the system, but also operation of the system i.e. dispatching of units.

# Conclusion

The impact pathway method links environmental and health burdens caused by electricity generation with physical impacts they cause and assigns monetary values to the latter. External costs considered here are only those caused by health effects of airborne emissions – particulates, SO2 and NOx and their secondary forms, sulfates and nitrates. Results show that damages linked to coal power plants are much larger than those linked to gas fired facilities, since the latter are responsible only for NOx emission and nitrates. Regional dispersion of pollutants in the atmosphere was conducted for the majority of potential locations for future power plants in Croatia, which resulted in the range of damage costs: 0,7 to 3,6 mECU/kWh for the candidate coal unit i.e. 0,1 to 0,6 mECU/kWh for the candidate gas unit. The largest share in damage costs accounts for mortality effects attributable to particulate matter, sulfates and nitrates. As an example, the calculated external costs were applied in power system expansion planning. The analysis showed that external costs due to airborne emissions could influence both the optimal capacity mix and operation of the power system. The results showed that if external costs are to be introduced, they should be added both to the existing and candidate power plants.

# References

(1(	ExternE - Externalities of Energy, EC DG XII, Brussels, 1995.

(2(	EcoSense, Version 2.0, IER, Stuttgart, 1997.